2/17/26 Meeting Minutes

Attendees:

| APGARF - Greenville Utilities | Durk Tyson | New Jersey Natural Gas | Jerry Ryan |
| --- | --- | --- | --- |
| Black Hills Energy | Todd King | NiSource | Tim Vaughan |
| Blue Mountain Energy | David Wagner | NW Natural | Raymond Edwards |
| Broad USA | Amit Vatsa | NW Natural | John Frankel |
| CenterPoint Energy | Michael Fogarty | ONE Gas | Dalton Bullard |
| Chesapeake Utilities | Dave Detrick | PGW | Michel Farag |
| Chesapeake Utilities | Vince Fiorelli | PGW | Sherif Youssef |
| Chesapeake Utilities - FCG | Peter Ferralls | Robur | Kevin Koch |
| Citizens Energy Group | Lane Dunagin | SaskEnergy | Derrick Nykoluk |
| Corning Natural Gas | John Williams | SoCalGas | James Choi |
| ESC | Eric Burgis | Southern Co.-Nicor | Mark Szczygiel |
| ESC | Sonia Vahedian | Stone Mountain Tech. | Brad Monaghan |
| FortisBC | Gerry Hohl | TECO Peoples Gas System | Betty Merlina |
| FortisBC | Michael Tilt | UGI | Joe Calhoun |
| FortisBC | Lindsay Riding | Unitil | Kelly Fowler |
| National Fuel Gas Distribution | Sal Cassano | WEC | Lili Florez |
| National Fuel Gas Distribution | Greg Harts | WEC | Justin Gordon |
| National Fuel Gas Distribution | Jacob Kindberg | WEC | Kelly Klopp |
| National Fuel Gas Distribution | Erik Solomon | Yanmar | Eddie Caton |

- The meeting was called to order at 2 PM Eastern

- Eric noted that he is working to set up a date for the 2026 GHP Workshop in April or May.

- Eric thanked members that helped review the GHP training unit in ESC’s Energy Industry Fundamentals training program.   He will work to record the revised training unit soon.

- Eric introduced Amit Vasta with Broad USA to discuss large scale GHPs.

  - Amit’s presentation can be found on:   https://www.energysolutionscenter.org/ghp-webinars-presentations/

  - The Broad GHP range is from 600 MBH to 190,000 MBH

  - The system only works in simultaneous heating / cooling operation which can produce a heating COP of 1.7 and cooling COP of .7 for a combined COP of 2.4.

  - Micheal asked if cold water system would need to be upgraded for a waste water treatment facility to use one of these systems.

  - Some best applications mentioned are hospitals, breweries, and any process that needs simultaneous hot & cold water.

- Meeting adjourned at 3:00 PM