3/17/26 Meeting Minutes

Attendees:

| ATCO Gas | Michael Leung | GTI | Rich Kooy |
| --- | --- | --- | --- |
| Chesapeake Utilities | Dave Detrick | Rinnai | Kevin Morgan |
| Chesapeake Utilities | Jared Hughart | UGI | Joe Calhoun |
| Chesapeake Utilities | Jared Shelton | Yanmar | Eddie Caton |
| ESC | Eric Burgis | Yanmar-Tedom | Clint Kelly |
| FortisBC | Gerry Hohl |  |  |

- The meeting was called to order at 9 AM Eastern

- Eric noted that the data is not set for the next GHP Workshop as he is awaiting responses from manufacturers on a date that works for them.

- Eddie noted that Yanmar is working to have compliant refrigerant in their systems in 2027.  It was noted that the date for refrigerant replacement in Japan is 2028, but its 2027 in the U.S. The refrigerant in 2027 will have to have a Global Warming Potential (GWP) less than 700.  Yanmar’s RTU uses 1234YF which has a GWP of <4.

- Dave asked if there could be a gap in U.S. units from Yanmar.

- Eddie noted that they bought a lot of parts to help avoid any gap and there is no issue selling units in Canada.

- Eddie noted that there is a 5-ton VRF system here in North America but they have not started testing on the unit yet.

- Eric discussed large scale GHPs noting there are 4 manufacturers of these systems, but they need to be installed in simultaneous heating and cooling applications.

- Aqeel said that these systems are more like gas chillers with heat recovery.

- Eric agreed that there are some questions about the true definition of a heat pump but noted that all 4 manufacturers call then gas heat pumps and all of them boast COPs of around 1.7 for heating so they look like 170% efficiency for heating.

- Eric asked if anyone had any word on where Homy stands.  Homy is the North American distributor for the Vicot GHP systems.

- It was noted that Homy has the V20 (20kW) system and is working on their V35 and also has a V140 system for commercial applications, but they are not yet certified.

- Eric asked about challenges with GHPs.

- Eddie noted that engineers like to have at least 3 like products for any product class and since the market only has Yanmar and Blue Mountain Energy for engine driven GHPs, they can be overlooked by some engineers.

- Eric noted that the GHP 101 training unit under ESC’s Fundamentals of Energy training program has been updated and is ready for use.  ***Please note that the suspension notice from Stone Mountain Technologies came out after this training was updated and ESC will hold off on any change to the training unit while SMTi looks for a business partner to purchase the business.***

- Meeting adjourned at 10:00 AM